## Slide 1
HA Auto-failover Application Guide
GEN1 Converged Infrastructure
Prepared for FIS
Notes: This presentation is an overview of the Converged Infrastructure GEN1 Storage automated failover system capabilities. The presentation is specifically targeted to Application Architects and Designers so that they may understand the functional basics of the failover system so as to leverage available capabilities as each individual application requires.

## Slide 2: HA Auto-failover GEN1 Application Guide
Design Overview
Failover Scenarios Supported
Workflow Options
Notes: The presentation will break down into three primary sections. In the Design Overview, we will discuss the general characteristics of the GEN1 failover system as they pertain to application functionality. We then move to the three failover scenarios the system is designed to support – what they are, how they differ, and how each one might impact application design. Finally we highlight the workflow choices that applications have available and need to make in order to build an application specific failover orchestration

## Slide 3: HA Auto-failover GEN1 – Design Overview
Multi-protocol support
  CIFS
  NFS
Symmetric Operation
  Can run from either “side” of the HA relationship
  Runs as simple “flip” – same action works in both directions
  Maintains HA status as primary operational goal
Decoupled Design
  Storage function and orchestration are kept separated
Notes: To support any application, of course we need to support any type of share. The storage tooling functions the same way a share using any base protocol, whether CIFS (Windows) or NFS (UNIX/Linux) based. The only difference to the storage tooling is the format of the share, which follows the standard model for the protocol – CIFS shares are named with UNC paths (\\servername\sharename) and NFS shares are named with mount paths (servername:/sharename). Both are as would be used by any application/server in the normal fashion.
The concept of symmetric operation means that one workflow can cover flipping in both directions. The key design point of the GEN1 failover system is that it is a push button to flip design. Which side of an HA relationship is currently primary doesn’t matter. Push the button and the HA share is flipped to the other side. Push again and it flips back. The burden on the application is that the application and/or workflow must know which side is primary when they want to flip. The convenience factor is that the share name to flip can be either the primary or the secondary. Being symmetric, the storage tooling can work from either side.
So while the application does need to know what the flip will do, it only needs one workflow configuration to flip in either direction.
The other implication of Symmetric Operation is that the primary goal of the script is to maintain HA readiness. This is critically important. Once a flip is triggered, reverse replication is automatically established. Flipping in one direction automatically sets up to flip back on the next invocation of the storage tools. There is NO option to over-ride this behavior. The key takeaway here is that HA failover cannot be used for DR exercises and tests. An HA pair can be used to do DRE testing – for instance, the DR side can be manually brought fully online to support checkout of application readiness in a secondary location, but doing so breaks the HA readiness.
The recommended design for DR testing is to have a third copy of data against which applications are exercised. The third copy could be a clone of the HA secondary side when needed – it need not be a dedicated always present storage allocation
Lastly, the GEN1 design is purposely fully decoupled. That is, the storage tooling does not defined what an application has to do or how the HA workflow must function. The key benefit of decoupling is to ensure the future functionality. For example, if the GEN1 infrastructure is replaced in the future, the current workflows being built can be reused – only the storage tooling layer needs be reimplemented. The assumption of course is that the replacement storage infrastructure is as similarly software defined as GEN1 is now.

## Slide 4: HA Auto-failover GEN1 – Design Overview - 2
Design elements
  Shares – one file share at each location supporting HA
    “Primary” share is read/write. “Secondary” share is read-only.
  Replication – storage based replication relationship
    Replication is uni-directional flowing from the defined “primary” share to the matching “secondary” share.
  Schedule – storage based named replication schedule
    Schedule name must be defined identically on both sides
    Schedule defines minimum granularity of data sync and potential data loss
Notes: From an application perspective there are three primary design elements to be aware of.
The share is the basic element. All control is based on a named share. For any HA share, there are two physical shares. At any given time, one is designated the primary share and the other the secondary share. Both are always online, but only the primary share is writable.
Both shares have the same name, but the servers on which they are located are different. The UNC or Mount paths of the shares reflect the differences in the share name. An application must be prepared to use a different path at each site. This design is a consequence of the fact that we do not flip servers between sites, but shares. The use of the share as the failover element provides greater granularity and flexibility, but at a small application design cost due to the different UNC/Mount path names at each site.
Storage replication is used between the sites to maintain the sync between the two shares. Replication is always uni-directional, from the primary side to the secondary side. When a flip occurs, the roles are reversed and the replication is similarly reversed.
Finally there is the replication schedule. Replication is not synchronous – it is run periodically based on a schedule. From an infrastructure point of view, each schedule has a name, and the named schedule must exist on both sides as part of the infrastructure. The actual schedules need not be the same at both sides, just the name. When a flip occurs. The schedule name assigned to the current primary is used as the schedule name to reverse the replication when a flip is triggered.
More important to the application is the schedule timing underneath the name. Schedules are completely flexible – an application can defined their own named schedule which triggers the replication on a timing specific to the application. In fact, if an application has multiple shares, each could have a separate schedule based on the application needs.
The practical minimum replication schedule is every 15 minutes. Anything tighter than every 15 minutes requires special preparation and handling for the controllers to be able to maintain the replication.
Key points on the timing. Just because a replication is requested every 15 minutes does NOT mean that it occurs every 15 minutes. Replication only shifts the new data since the last cycle. Each replication cycle takes as long as needed to complete all the changes since the last cycle. Consider an application that has a 30 minute schedule. Since the last replication, a ton of changed data has been blasted onto the primary share – perhaps a system dump of some kind, or perhaps normal cyclic processing. When the next replication cycle starts, perhaps it runs 40 minutes. That means that one replication cycle is skipped. If replication cannot start when request, it is not “pending” to run as soon as it can. That cycle is simply skipped. Thus, despite a 30 minute schedule, data could be more than an hour behind on the secondary site in such a scenario.
Schedules need to be balanced for the application needs and the application data patterns. And applications must be prepared for the possibility of data loss to some degree.

## Slide 5: HA Auto-Failover GEN1 – Failover Scenarios
Normal – Maintains data integrity
Fast – Sacrifices data integrity for speed
“DR” – Special case where primary side is “smoking hole”
Notes: Because FIS does not have a truly synchronous high availability solution, the GEN1 design is purpose built to cover the failover scenarios that an asynchronous system creates. There are three such scenarios…

## Slide 6: HA Auto-failover GEN1 Failover Scenarios - 2
Normal
  Standard Operational Model
    If a replication is in progress, it is allowed to complete
    A final replication is triggered and allowed to complete
    Failover occurs
    Reverse replication is established to former primary site to maintain HA
  Timing Unknown - Dependencies
    Data change rate
    Replication schedule
    Network Capacity
    Storage Controller workload
Notes: A normal failover is the default scenario. The intent is to flip only after data is fully in sync at both sides. To accomplish this, the failover process will allow any in flight replication to complete, then trigger one final replication to pick up any data changed since the last replication started.
The application design considered here is that the application can be gracefully shutdown, pushing any last data to the shares. The shares can then be flipped, ensuring that the secondary site has the same data. After the flip occurs, the replication is started in reverse, which ensures that both sides are still in “synced” state – ready to fail back on demand. No interaction is needed by anyone to prepare for failback from the storage share perspective. In this scenario, the applications could be shutdown on the primary, a flip of the shares triggered, an immediate flip back triggered, and the applications on the primary site restarted. No data loss occurs.
The side effect of ensuring data integrity is that timing cannot be known specifically in advance of the flip. The replications used take as long as they take. For a given share, the expected time would be two typical replication cycle times – that is how long the replications actually take – plus some generic process overhead. Failover process overhead is a couple of minutes per share. An especially long set of final replications could significantly expand the time needed for this scenario.
Some the things that affect the replication duration are listed.

## Slide 7: HA Auto-failover GEN1 Failover Scenarios - 3
Fast
  Optional Operational Model
    If a replication is in progress, it is aborted
    Failover occurs
    Reverse replication is established to former primary site to maintain HA
  Timing Predictable - Dependencies
    Storage Controller workload
  Data Loss Acceptable
    Non-replicated data is lost. The reverse replication destroys any non-replicated data.
    Standard loss is at least two replication intervals. Can be greater.
Notes: Because of the timing factor, a second failover scenario is to just hard flip from primary to secondary. Replication in flight, if any, is aborted immediately. A final replication is not done (as it would just redo the one aborted anyway). This scenario implies that data loss will occur when the secondary side is brought fully online – the secondary side will not be as up to date as the original primary. The degree to which the secondary side is out of date depends on the replication timings, as discussed previously.
The other implication of this scenario to recall is that once the flip is done, replication is reversed. Since the secondary side is not as up to date as the primary, once replication is reversed the more recent data on the original primary side is discarded so as to make the original primary the same as the original secondary/now functional primary.
So why would one want to use this option? Consider when an imminent failure is known to be coming. For instance, a power failure at the primary site kicks in the batteries but for whatever reason the generators aren’t functioning properly. Knowing that time is critical, an application might choose to do a fast failover to preserve as much functionality as possible despite the data loss potential. If the power failed completely, there would be data loss in any case.
Or, perhaps an application is designed to rebuild certain data on shares should it be lost. In this case, a fast failover could be the preferred option.
Critical to understand is that backups are likely not an option to protect against the data loss described here. The data that might be lost in a fast failover is the most recent changes which wouldn’t likely be on a backup system at the time of failover.

## Slide 8: HA Auto-failover GEN1 Failover Scenarios - 4
“DR”
  Optional Operational Model
    Used when primary side is hard down – no final replication possible
    Secondary side forced failover occurs
    Reverse replication not possible
  Data Loss Possible
    Data appears lost at secondary (now active) on initial transition
    If primary restored, possible data can be available again
  HA Recovery
    When original primary recovered, “split-brain” exists
    Use Recovery mode to set which side is primary and rebuild replication
Notes: The DR scenario is the case where the primary side of the HA relationship is suddenly dead – the smoking hole situation. This is similar to the “fast” failover case, in that the secondary side just needs to come online now with no final replication push.
The difference for this case is that HA cannot be re-established when one side is down. When the original primary is restored, both sides will now think they are primary – a split brain. However no replication is active at this time. The DR failover mode supports forcing the secondary online when the normal or fast option would fail (both sides need to be functioning for normal and fast). Then the DR failover mode supports a later “recovery” call to declare which side should really be primary and then reset replication from the now defined primary to the other side.

## Slide 9: HA Auto-failover GEN1 Workflow Options
Application Agnostic
Independent shares
Simultaneous failover
Status checks
Test runs
Manual operation

## Slide 10: HA Auto-failover GEN1 Workflow Options - 2
Application Agnostic
  Supported tooling at the storage layer does not define anything the application must do.
  Orchestration can use the tooling customized per any application’s needs
  An application could self define multiple “system” failover scenarios, based on the application structure, and build workflows for each.
Notes: GEN1 failover is not one size fits all. Each application can deploy the capabilities however it makes sense for that application. Orchestrations can be built per application needs
I expect that there will be some “standard” orchestration patterns, which can then be merged/coordinated as needed like building blocks for each application.

## Slide 11: HA Auto-failover GEN1 Workflow Options - 3
Independent Shares
  Each share can have its own failover model
  Each share is flipped on its own. This supports partial failover if appropriate to an application
  Applications with multiple shares can define their own error recovery. That is, if three shares flip and the two do not, what happens?
Notes: When an application has multiple shares, each share is managed separately. Some could be set to use normal failover, some fast. The orchestration can define the order and what happens if something goes wrong in the middle (perhaps the orchestration flips the ones that made it back so that the application still is 100% in a single location).

## Slide 12: HA Auto-failover GEN1 Workflow Options - 4
Simultaneous Failover
  Storage tooling is called once per share to flip
  Tooling supports being called in parallel. This can speed overall process of flipping multiple shares in an application set
  Applications can decide it they want to flip sequentially, in parallel, or any some combination
Notes: The storage tooling that supports failover has no order of operation dependency or max number of invocations at a given time. Orchestration for an application can be built that submits multiple requests to flip shares in parallel. In the case of a normal failover, this might be desirable to overlap the final replications and built in check delays to reduce total time. Or they can be run sequentially. Or in pieces based on the order of operations for the application system – perhaps the overall flow is get two shares flipped, start part of the application that is more critical, flip another share, start the rest.
Because each share is flipped as an independent element, the application, through the orchestration system, can determine the failover functionality that best meets the needs of the application

## Slide 13: HA Auto-failover GEN1 Workflow Options - 5
Status Checks
  Status check reports current primary, current secondary, and replication details
  If status check fails, automated failover is not supported
  Designed to support periodic health check of HA system
Notes: In addition to the failover modes, the storage failover tooling supports a status check. The status check reports back a bunch of detail on the share requested. From the application point of view, this can be a basic health check. The status function will fail if the HA relationship is not ready to failover for some reason.
In addition, the output provides information the storage team can use as diagnostic to figure out why something might be broken, if such is the case. The benefits here is that the storage tool does not depend on orchestration to function – a status check can be made at any time

## Slide 14: HA Auto-failover GEN1 Workflow Options - 6
Test Runs
  Exercises the entire failover workflow without doing the flip
  Safe to use at any time with no impact to applications
  Goes beyond status check to touch the storage in more depth
  Designed to support periodic health check of HA system
Notes: Similar to the status check is a “test run” function. The test run does more exercising of the overall storage tool but doesn’t do the final flip nor reverse the replication. Again – this is present to help provide independent assessment that the HA system is ready when called upon

## Slide 15: HA Auto-failover GEN1 Workflow Options - 7
Manual Operation
  Tools can be used outside of orchestration if necessary
  Covers the special “one off” cases where an orchestration workflow was not previously built
Notes: Finally – as alluded to in the Status Check question, the storage tool can be called manually by a command line interface on any of the servers where the tool is hosted. This allows one-off or other custom actions taken for which a formal orchestration might not have been built.
Applications needing to do a one off type action will likely need to coordinate with storage resources to accomplish this.

## Slide 16
Bob Greenwald
Senior Systems Engineer c: +1.262.325.4211
e: bob.greenwald@cstor.com
Assigned as Resident NetApp SME for FIS
e: bob.greenwald@fisglobal.com
Notes: Thank you – My contact info is here should you have further questions. FIS is the only cStor customer I support. You can reach me during normal business hours through email, Skype, etc. and lots of other times too.